## Table 1
LPH Series | [10 empty] | Material | [5 empty] | Port
LPH-125-X-A-X-NO | [10 empty] | Acrylic | [5 empty] | 1/8" FNPT
LPH-125-X-B-X-NO | [10 empty] | Brass | [5 empty] | 1/8" FNPT
LPH-125-X-S-X-NO | [10 empty] | 316SS | [5 empty] | 1/8" FNPT
LPH-125-X-T-X-NO | [10 empty] | Teflon® | [5 empty] | 1/8" FNPT
LPH 125 Series with 1/2" FNPT Electrical Conduit
LPH-125-X-BC-X-NO | [10 empty] | Brass | [5 empty] | 1/8" FNPT
LPH-125-X-SC-X-NO | [10 empty] | 316SS | [5 empty] | 1/8" FNPT
LPH 250 Series
LPH-250-X-A-X-NO | [10 empty] | Acrylic | [5 empty] | 1/8" FNPT
LPH-250-X-B-X-NO | [10 empty] | Brass | [5 empty] | 1/8" FNPT
LPH-250-X-S-X-NO | [10 empty] | 316SS | [5 empty] | 1/8" FNPT
LPH-250-X-T-X-NO | [10 empty] | Teflon® | [5 empty] | 1/8" FNPT
LPH 250 Series with 1/2" FNPT Electrical Conduit
LPH-250-X-BC-X-NO | [10 empty] | Brass | [5 empty] | 1/8" FNPT
LPH-250-X-SC-X-NO | [10 empty] | 316SS | [5 empty] | 1/8" FNPT
LPH 375 Series
LPH-375-X-A-X-NO | [10 empty] | Acrylic | [5 empty] | 1/4" FNPT
LPH-375-X-B-X-NO | [10 empty] | Brass | [5 empty] | 1/4" FNPT
LPH-375-X-S-X-NO | [10 empty] | 316SS | [5 empty] | 1/4" FNPT
LPH-375-X-T-X-NO | [10 empty] | Teflon® | [5 empty] | 1/4" FNPT
LPH 375 Series with 1/2" FNPT Electrical Conduit
LPH-375-X-BC-X-NO | [10 empty] | Brass | [5 empty] | 1/4" FNPT
LPH-375-X-SC-X-NO | [10 empty] | 316SS | [5 empty] | 1/4" FNPT
Options:
NO- Normally Open, Single Pole Single Throw Reed Switch
NC- Normally Close, Single Pole Single Throw Reed Switch
SPDT- Single Pole Double Throw Reed Switch
DS- Double Switch (DSNONO; DSNONC; DSNCNC)
TFE- Teflon® Encapsulated Piston (standard on Teflon units)
O2- Certified Oxygen Cleaning
HT- High Temperature (316SS and Brass only) (340ºF/170ºC)
HV- High Voltage Switch (220 VAC)
DC- Double Conduit 316SS (DCNONO; DCNONC; DCNCNC)
DC- Double Conduit Brass (DCNONO; DCNONC; DCNCNC)
Rev. 042414SK
FS Series- 316 Stainless Steel | [6 empty] | Material | [8 empty] | Port
FS-50-X-S-NO | [6 empty] | 316SS | [8 empty] | 1/2" MNPT
FS-75-X-S-NO | [6 empty] | 316SS | [8 empty] | 3/4" MNPT
FS-1-X-S-NO | [6 empty] | 316SS | [8 empty] | 1" MNPT
FS Series- Brass
FS-50-X-B-NO | [6 empty] | Brass | [8 empty] | 1/2" MNPT
FS-75-X-B-NO | [6 empty] | Brass | [8 empty] | 3/4" MNPT
FS-1-X-B-NO | [6 empty] | Brass | [8 empty] | 1" MNPT
FS Series- PVC with Conduit
FS-50-X-PC-NO | [6 empty] | PVC | [8 empty] | 1/2" FNPT
FS-75-X-PC-NO | [6 empty] | PVC | [8 empty] | 3/4" FNPT
FS-1-X-PC-NO | [6 empty] | PVC | [8 empty] | 1" FNPT
Options:
NO- Normally Open, Single Pole Single Throw Reed Switch
NC- Normally Close, Single Pole Single Throw Reed Switch
SPDT- Single Pole Double Throw Reed Switch
HT- High Temperature Option (340ºF/171ºC; metallic bodies only)
X- Flow Calibration
Rev. 042414SK
125 Series | [9 empty] | Material | [5 empty] | Port
125-B-NO | [9 empty] | Brass | [5 empty] | 1/8" FNPT
125-T-NO | [9 empty] | Teflon® | [5 empty] | 1/8" FNPT
125-316-NO | [9 empty] | 316SS | [5 empty] | 1/8" FNPT
Options:
C- Conduit (1/2"FNPT; metallic bodies only)
NO- Normally Open, Single Pole Single Throw Reed Switch
SPDT- Single Pole Double Throw Reed Switch
TFE- Teflon® Encapsulated Piston (standard on TEFLON units)
O2- Certified Oxygen Cleaning
HT- High Temperature (340º F/171º C; metal bodies only)
KZ- Kalrez© Seals
EPR- Ethylene Propylene Rubber
BN- Buna N Seals
HE- Certified Helium Leak Tested
Custom Fittings
Rev. 042414SK
125 BP Series | [11 empty] | Material | [5 empty] | Port
125-B-BP-NO | [11 empty] | Brass | [5 empty] | 1/8" FNPT
125-T-BP-NO | [11 empty] | Teflon® | [5 empty] | 1/8" FNPT
125-316-BP-NO | [11 empty] | 316SS | [5 empty] | 1/8" FNPT
125-B-BP-C-NO | [11 empty] | Brass | [5 empty] | 1/8" FNPT
125-T-BP-C-NO | [11 empty] | Teflon® | [5 empty] | 1/8" FNPT
125-316-BP-C-NO | [11 empty] | 316SS | [5 empty] | 1/8" FNPT
Options:
HF- High Flow
NO- Normally Open, Single Pole Single Throw Reed Switch
NC- Normally Closed, Single Pole Single Throw (not avail on conduit unit)
BN- Buna N Seals
SPDT- Single Pole Double Throw Reed Switch
TFE- Teflon® Encapsulated Piston (standard on TEFLON units)
O2- Certified Oxygen Cleaning
HT- High Temperature
KZ- Kalrez© Seals
EPR- Ethylene Propylene Rubber Seals
HE- Certified Helium Leak Tested
Custom Fittings
Rev. 042414SK
500 BP Series | [5 empty] | Material | [7 empty] | Port
500-B-BP-X-NO | [5 empty] | Brass | [7 empty] | 1/2" FNPT
500-T-BP-X-NO | [5 empty] | Teflon® | [7 empty] | 1/2" FNPT
500-316-BP-X-NO | [5 empty] | 316SS | [7 empty] | 1/2" FNPT
Options:
HF- High Flow
W- Water Proof Cover Nema IV
X- Explosion Proof Cover Nema VII
NO- Normally Open, Single Pole Single Throw Reed Switch
SPDT- Single Pole Double Throw Reed Switch
TFE- Teflon® Encapsulated Piston (standard on Teflon units)
O2- Certified Oxygen Cleaning
HT- High Temperature
KZ- Kalrez© Seals
EPR- Ethylene Propylene Rubber Seals
BN- Buna N Seals
HE- Certified Helium Leak Tested
FP- Factory Preset
Welded Fittings
Rev. 042414SK
500 Bypass High Pressure Series |  |  |  | Material | [6 empty] | Port
500-316-BPHP-W-NO |  |  |  | 316SS | [6 empty] | 1/2" FNPT
Options:
W- Water Proof Cover Nema IV
X- Explosion Proof Cover Nema VII
NO- Normally Open, Single Pole Single Throw Reed Switch
SPDT- Single Pole Double Throw Reed Switch
O2- Certified Oxygen Cleaning
HT- High Temperature
KZ- Kalrez© Seals
EPR- Ethylene Propylene Rubber Seals
BN- Buna N Seals
HE- Certified Helium Leak Tested
FP- Factory Preset
Rev. 042414SK
FAV Series |  |  |  |  | Material | [9 empty] | Port
FAV-250-ESB-X-NC |  |  |  |  | Brass | [9 empty] | 1/4" FNPT
FAV-375-ESB-X-NC |  |  |  |  | Brass | [9 empty] | 3/8" FNPT
FAV-500-ESB-X-NC |  |  |  |  | Brass | [9 empty] | 1/2" FNPT
FAV-750-ESB-X-NC |  |  |  |  | Brass | [9 empty] | 3/4" FNPT
FAV-250-ESS-X-NC |  |  |  |  | 316SS | [9 empty] | 1/4" FNPT
FAV-375-ESS-X-NC |  |  |  |  | 316SS | [9 empty] | 3/8" FNPT
FAV-500-ESS-X-NC |  |  |  |  | 316SS | [9 empty] | 1/2" FNPT
FAV-750-ESS-X-NC |  |  |  |  | 316SS | [9 empty] | 3/4" FNPT
Options:
W- Water Service
G- Gas Service
NC- Normally Close, Single Pole Single Throw Reed Switch
NO- Normally Open, Single Pole Single Throw Reed Switch
SPDT- Single Pole Double Throw Reed Switch
HT- High Temperature
KZ- Kalrez© Seals
EPR- Ethylene Propylene Rubber Seals
BN- Buna N Seals
Rev. 042414SK
LCA Series | [5 empty] | Material | [6 empty] | Port
LCA-250-P-X0-W-X | [5 empty] | PVC | [6 empty] | 1/4" FNPT
LCA-375-P-X0-W-X | [5 empty] | PVC | [6 empty] | 3/8" FNPT
LCA-500-P-X0-W-X | [5 empty] | PVC | [6 empty] | 1/2" FNPT
LCA-750-P-X0-W-X | [5 empty] | PVC | [6 empty] | 3/4" FNPT
LCA-250-B-X0-W-X | [5 empty] | Brass | [6 empty] | 1/4" FNPT
LCA-375-B-X0-W-X | [5 empty] | Brass | [6 empty] | 3/8" FNPT
LCA-500-B-X0-W-X | [5 empty] | Brass | [6 empty] | 1/2" FNPT
LCA-750-B-X0-W-X | [5 empty] | Brass | [6 empty] | 3/4" FNPT
LCA-250-A-X0-W-X | [5 empty] | Acrylic | [6 empty] | 1/4" FNPT
LCA-375-A-X0-W-X | [5 empty] | Acrylic | [6 empty] | 3/8" FNPT
LCA-500-A-X0-W-X | [5 empty] | Acrylic | [6 empty] | 1/2" FNPT
LCA-750-A-X0-W-X | [5 empty] | Acrylic | [6 empty] | 3/4" FNPT
LCA-250-S-X0-W-X | [5 empty] | 316SS | [6 empty] | 1/4" FNPT
LCA-375-S-X0-W-X | [5 empty] | 316SS | [6 empty] | 3/8" FNPT
LCA-500-S-X0-W-X | [5 empty] | 316SS | [6 empty] | 1/2" FNPT
LCA-750-S-X0-W-X | [5 empty] | 316SS | [6 empty] | 3/4" FNPT
Options:
NC- Normally Close, SPST
NO- Normally Open, SPST
SPDT- Single Pole Double Throw Reed Switch
FP- Factory Preset
X- Flow Setting & Switch Option
Rev. 042414SK
CCM Series | [7 empty] | Material | [5 empty] | Port |  |  |  |  | Price (USD)
CCM-X-NC | [7 empty] | PVC | [5 empty] | Inlet 1/8" |  |  |  |  | 158
Outlet 1/4"
Options:
NC- Normally Close, SPST | [18 empty] | n/c
SPDT- Single Pole Double Throw Reed Switch | [18 empty] | 19
TFE- Teflon® Encapsulated Piston | [18 empty] | 31
O2- Certified Oxygen Cleaning | [18 empty] | 50
KZ- Kalrez© Seals | [18 empty] | 162
FP-Factory Preset | [18 empty] | 39
EPR- Ethylene Propylene Rubber Seals | [18 empty] | 36
X- Size (calibration range, see catalog)
Rev. 042414SK
LFS Series (not shown in catalog, contact factory for details) | [8 empty] | Material | [8 empty] | Port
LFS-500-PP-C-X-NO | [8 empty] | Polypropylene | [8 empty] | 1/2" FNPT
Options:
X- Calibration
1= 0.1GPM/ 2 = 0.5GPM/ 4 = 1.0GPM/ 6 = 1.5GPM/ 8 = 2.0 GPM
NO- Normally Open, Single Pole Single Throw Reed Switch
SPDT- Single Pole Double Throw Reed Switch
Rev. 042414SK
FLOW METERS
MAO 125/250/500 Series |  | Material | Port
MAO-125-T-XX |  | Teflon® | 1/8" FNPT
MAO-250-T-XX |  | Teflon® | 1/4" FNPT
MAO-500-T-XX |  | Teflon® | 1/2" FNPT
MAO-125-B-XX |  | Brass | 1/8" FNPT
MAO-250-B-XX |  | Brass | 1/4" FNPT
MAO-500-B-XX |  | Brass | 1/2" FNPT
MAO-125-S-XX |  | 316SS | 1/8" FNPT
MAO-250-S-XX |  | 316SS | 1/4" FNPT
MAO-500-S-XX |  | 316SS | 1/2" FNPT
MAO-125-P-XX |  | PVC | 1/8" FNPT
MAO-250-P-XX |  | PVC | 1/4" FNPT
MAO-500-P-XX |  | PVC | 1/2" FNPT
*XX - Flow Range (catalog page)
Rev.042414SK
EXCESS FLOW VALVES | [8 empty] | Material | [5 empty] | Port
EFV-125-B | [8 empty] | Brass | [5 empty] | 1/8" FNPT
EFV-250-B | [8 empty] | Brass | [5 empty] | 1/4" FNPT
EFV-375-B | [8 empty] | Brass | [5 empty] | 3/8" FNPT
EFV-500-B | [8 empty] | Brass | [5 empty] | 1/2" FNPT
EFV-750-B | [8 empty] | Brass | [5 empty] | 3/4" FNPT
EFV-125-S | [8 empty] | 316SS | [5 empty] | 1/8" FNPT
EFV-250-S | [8 empty] | 316SS | [5 empty] | 1/4" FNPT
EFV-375-S | [8 empty] | 316SS | [5 empty] | 3/8" FNPT
EFV-500-S | [8 empty] | 316SS | [5 empty] | 1/2" FNPT
EFV-750-S | [8 empty] | 316SS | [5 empty] | 3/4" FNPT
Options:
PSO- Positive Shut-Off (Viton© Seals)
ES- Reed SwitchSPST; N.O. (not available for EFV125 models)
O2- Certified Oxygen Cleaning
HT- High Temperature
Bleed-KZ-(Kalrez© Seals) 2 Seals
KZ- Positive Shut-Off (Kalrez© Seals) 3 Seals
EPR- Positive Shut-Off (Ethylene Propylene Rubber Seals)
FP- Factory Preset (3X max flow rate/media/line pressure)
HE- Certified Helium Tested
Other Materials Available upon Request
Rev.042414SK
EFV MRS Series | [6 empty] | Material | [7 empty] | Port
EFV-125-B-MRS | [6 empty] | Brass | [7 empty] | 1/8" FNPT
EFV-250-B-MRS | [6 empty] | Brass | [7 empty] | 1/4" FNPT
EFV-375-B-MRS | [6 empty] | Brass | [7 empty] | 3/8" FNPT
EFV-500-B-MRS | [6 empty] | Brass | [7 empty] | 1/2" FNPT
EFV-750-B-MRS | [6 empty] | Brass | [7 empty] | 3/4" FNPT
EFV-125-S-MRS | [6 empty] | 316SS | [7 empty] | 1/8" FNPT
EFV-250-S-MRS | [6 empty] | 316SS | [7 empty] | 1/4" FNPT
EFV-375-S-MRS | [6 empty] | 316SS | [7 empty] | 3/8" FNPT
EFV-500-S-MRS | [6 empty] | 316SS | [7 empty] | 1/2" FNPT
EFV-750-S-MRS | [6 empty] | 316SS | [7 empty] | 3/4" FNPT
Options:
ES- Reed SwitchSPST; N.O. (not available for EFV125 models)
O2- Certified Oxygen Cleaning
HT- High Temperature
KZ- Kalrez© Seals (min. 2 week lead time)
EPR- Ethylene Propylene Seals
FP- Factory Pre-Setting (3X max flow rate/media/line pressure)
HE- Certified Helium Leak Tested
Other Materials Available upon Request
Rev.042414SK
High Pressure EFV Series | [7 empty] | Material | [6 empty] | Port
HP-EFV-250-S | [7 empty] | 316SS | [6 empty] | 1/4" FNPT
HP-EFV-500-S | [7 empty] | 316SS | [6 empty] | 1/2" FNPT
HP-EFV-750-S | [7 empty] | 316SS | [6 empty] | 3/4" FNPT
Options:
PSO- Positive Shut-Off (Viton Seals)
ES- Reed SwitchSPST; N.O. (not available for EFV125 models)
O2- Certified Oxygen Cleaning
HT- High Temperature
KZ- Positive Shut-Off Kalrez© Seals ( min. 2 week lead time)
EPR- Ethylene Propylene Rubber Seals
FP- Factory Pre-Setting (3X max flow rate/media/line pressure)
HE- Certified Helium Leak Tested
Other Materials Available upon Request
Rev. 042414SK
Accessories
Relay Module | Arc Suppressor
HR-1 | XE1201